PARAKEET COMMUNITIES New Home Installation Checklist — CONSTRUCTION Technical sign-off: structural installation · mechanical systems · code compliance · pre-handoff quality control

Completed by: Director of Construction or designated inspector before home is handed to Operations. Every item must be marked Yes or N/A. Any No requires a written note and resolution before sign-off.

| Property / Community ______________________________ | Lot # ______________________________ | Home Model ______________________________ | S/N ______________________________ |
| --- | --- | --- | --- |

| City / State ______________________________ | Type of Setup: ☐ Piers ☐ Runners ☐ Full Slab ☐ Stem Wall ______________________________ | Inspected By ______________________________ | Date ______________________________ |
| --- | --- | --- | --- |

| Assessment Item | Yes | No | N/A | Notes / Observations |
| --- | --- | --- | --- | --- |
| ROOF — Structural Integrity & Installation |  |  |  |  |
| All shingles properly installed | ☐ | ☐ | ☐ |  |
| All debris removed from roof | ☐ | ☐ | ☐ |  |
| Ridge vent installed properly: peaked, nailed, and sealed | ☐ | ☐ | ☐ |  |
| Close-up felt not over tar tabs | ☐ | ☐ | ☐ |  |
| No exposed fasteners | ☐ | ☐ | ☐ |  |
| All shingles and vents are damage-free | ☐ | ☐ | ☐ |  |
| Eaves and fascia are straight | ☐ | ☐ | ☐ |  |
| Windbreaker holes are tarred | ☐ | ☐ | ☐ |  |
| Vents, boots, flues, and extensions are secured and sealed properly | ☐ | ☐ | ☐ |  |
| Shingle flashing properly installed | ☐ | ☐ | ☐ |  |
| UNDERNEATH HOME — Structure, Blocking & Mechanical Runs |  |  |  |  |
| Main beam, centerline, and perimeter are properly blocked | ☐ | ☐ | ☐ |  |
| Marriage line seal properly secured | ☐ | ☐ | ☐ |  |
| Wedges are tight | ☐ | ☐ | ☐ |  |
| A/C ducts properly suspended, attached, and installed | ☐ | ☐ | ☐ |  |
| Sewer crossovers connected and leak-free | ☐ | ☐ | ☐ |  |
| Sewer drain pipes properly sloped and fully installed | ☐ | ☐ | ☐ |  |
| Water crossovers connected and leak-free | ☐ | ☐ | ☐ |  |
| Bottom board is damage-free; any repairs taped and stapled | ☐ | ☐ | ☐ |  |
| Windows/ext/doors properly blocked | ☐ | ☐ | ☐ |  |
| Electrical crossovers connected | ☐ | ☐ | ☐ |  |
| Dryer vent installed and vented to outside | ☐ | ☐ | ☐ |  |
| Access board reinstalled after inspection | ☐ | ☐ | ☐ |  |
| EXTERIOR — Structural & Transportation Damage Check |  |  |  |  |
| Close-up boards properly fastened | ☐ | ☐ | ☐ |  |
| Lap siding properly installed and damage-free | ☐ | ☐ | ☐ |  |
| Close-up exterior siding properly installed | ☐ | ☐ | ☐ |  |
| Exterior transportation damage-free | ☐ | ☐ | ☐ |  |
| GFI covers and hose bibbs are damage-free | ☐ | ☐ | ☐ |  |
| HOME INTERIOR — Installation Quality |  |  |  |  |
| Mate line doors and baseboard installed | ☐ | ☐ | ☐ |  |
| Floors inspected for squeaks | ☐ | ☐ | ☐ |  |
| Loose trim secured | ☐ | ☐ | ☐ |  |
| Wall panels inspected for blemishes, cuts, and damage | ☐ | ☐ | ☐ |  |
| Ceilings inspected throughout home | ☐ | ☐ | ☐ |  |
| Countertops inspected for damage and caulking | ☐ | ☐ | ☐ |  |
| Self-edge inspected for damage and caulking | ☐ | ☐ | ☐ |  |
| Appliances unpacked, level, and inspected for damage | ☐ | ☐ | ☐ |  |
| Cabinet doors inspected and adjusted | ☐ | ☐ | ☐ |  |
| Cabinet doors touched up if needed (putty, stain) | ☐ | ☐ | ☐ |  |
| Cabinet drawers inspected and adjusted | ☐ | ☐ | ☐ |  |
| Cabinet drawers touched up if needed (putty, stain) | ☐ | ☐ | ☐ |  |
| Face frames inspected for damage | ☐ | ☐ | ☐ |  |
| Face frames touched up if needed (putty, stain) | ☐ | ☐ | ☐ |  |
| Cabinet tops inspected for protruding nails, screws, cleanliness | ☐ | ☐ | ☐ |  |
| Shelves correct size and mounted properly to wall | ☐ | ☐ | ☐ |  |
| Fiberglass tub and showers inspected for chips or damage | ☐ | ☐ | ☐ |  |
| Caulk shower and tubs as needed | ☐ | ☐ | ☐ |  |
| Toilets and seats not cracked or scratched | ☐ | ☐ | ☐ |  |
| Toilet properly bolted to the floor | ☐ | ☐ | ☐ |  |
| Faucet fixtures and sinks are damage-free | ☐ | ☐ | ☐ |  |
| Faucet fixtures and sinks are properly installed | ☐ | ☐ | ☐ |  |
| Lavatory, shower, and hose bibb faucets function correctly | ☐ | ☐ | ☐ |  |
| Can lights inspected for securement | ☐ | ☐ | ☐ |  |
| Overhead ducts operating properly | ☐ | ☐ | ☐ |  |
| Ship-loose vinyl flooring installed across mate line | ☐ | ☐ | ☐ |  |
| Riser cavity properly connected and sealed | ☐ | ☐ | ☐ |  |
| WINDOWS & DOORS — Operation & Security |  |  |  |  |
| Interior doors operational, hardware properly installed | ☐ | ☐ | ☐ |  |
| Exterior doors operational, screens and storm door installed | ☐ | ☐ | ☐ |  |
| Locks and keys operational | ☐ | ☐ | ☐ |  |
| Windows operational, screens installed, blinds functional | ☐ | ☐ | ☐ |  |
| Interior doors squared with casing aligned | ☐ | ☐ | ☐ |  |
| Interior doors caulked and painted if needed | ☐ | ☐ | ☐ |  |
| ELECTRICAL CHECK |  |  |  |  |
| Switch plates and receptacles straight | ☐ | ☐ | ☐ |  |
| Panel box and breakers inspected | ☐ | ☐ | ☐ |  |
| GFI breakers operate properly | ☐ | ☐ | ☐ |  |
| All receptacles operate properly | ☐ | ☐ | ☐ |  |
| All light switches operate properly | ☐ | ☐ | ☐ |  |
| All can lights operate properly | ☐ | ☐ | ☐ |  |
| Refrigerator operating properly | ☐ | ☐ | ☐ |  |
| Range operating properly | ☐ | ☐ | ☐ |  |
| Dishwasher operating properly | ☐ | ☐ | ☐ |  |
| Water heater operating properly | ☐ | ☐ | ☐ |  |
| Smoke detectors tested and function properly — spacer removed | ☐ | ☐ | ☐ |  |
| All bath fans functional | ☐ | ☐ | ☐ |  |
| Whole-house vent fan functional | ☐ | ☐ | ☐ |  |
| PLUMBING CHECK |  |  |  |  |
| Pressure test all water lines | ☐ | ☐ | ☐ |  |
| Adjust all commodes | ☐ | ☐ | ☐ |  |
| Clean out all faucet aerators | ☐ | ☐ | ☐ |  |
| Check all P-traps for leaks | ☐ | ☐ | ☐ |  |
| Check all fresh water lines for leaks | ☐ | ☐ | ☐ |  |
| Check under all sinks and tub/showers with accesses for leaks | ☐ | ☐ | ☐ |  |
| Check commodes for leaks — flush to test | ☐ | ☐ | ☐ |  |
| Check dishwasher for leaks | ☐ | ☐ | ☐ |  |
| Check icemaker line for leaks | ☐ | ☐ | ☐ |  |
| Check hose bibbs for leaks | ☐ | ☐ | ☐ |  |
| Check water heater for leaks | ☐ | ☐ | ☐ |  |
| Proper start of water heater per manufacturer's instructions | ☐ | ☐ | ☐ |  |
| Inspect water heater compartment for cleanliness | ☐ | ☐ | ☐ |  |
| Ensure all access doors work properly | ☐ | ☐ | ☐ |  |
| Access doors closed back up after inspection | ☐ | ☐ | ☐ |  |
| Sewer function test complete — home sinks brought to flood level | ☐ | ☐ | ☐ |  |

| ☐ APPROVED — All items confirmed All items Yes or N/A. No open items. | ☐ ITEMS REQUIRING ATTENTION See notes. Escalate to responsible party before proceeding. |
| --- | --- |

Items Requiring Attention — describe and note responsible party

| Director of Construction — Installation Sign-Off ______________________________ | Date: ______________________________ |
| --- | --- |