PARAKEET COMMUNITIES Home Readiness Checklist — OPERATIONS & SALES Utility verification · property condition · show-readiness · escalation ¦ Completed by: Facility Manager & Community Manager

Facility Manager completes Utilities, Mechanical, and Escalation sections. Community Manager / Sales Representative completes Exterior through Cleanliness sections before any showing or listing. Construction sign-off must be on file before this checklist is started. Physically verify every item — if it has not been checked, it is not confirmed.

| Property / Community ______________________________ | Home / Unit # ______________________________ | Completed By ______________________________ | Date ______________________________ |
| --- | --- | --- | --- |

| Home Type: ☐ New Delivery ☐ Rehab ☐ Turnover ______________________________ | Inspection Type: ☐ Weekly ☐ Pre-Listing ☐ Pre-Move-In ______________________________ | Construction Sign-Off on File? ☐ Yes ☐ No ______________________________ | ______________________________ |
| --- | --- | --- | --- |

| Assessment Item | Yes | No | N/A | Notes / Observations |
| --- | --- | --- | --- | --- |
| UTILITY VERIFICATION — Physically confirmed; no assumptions |  |  |  |  |
| Water service is active | ☐ | ☐ | ☐ |  |
| All faucets tested and flowing properly | ☐ | ☐ | ☐ |  |
| Toilets flushed and functioning | ☐ | ☐ | ☐ |  |
| No visible plumbing leaks anywhere in home | ☐ | ☐ | ☐ |  |
| No standing water present inside or outside | ☐ | ☐ | ☐ |  |
| Power service is active | ☐ | ☐ | ☐ |  |
| Interior lights tested and functioning throughout | ☐ | ☐ | ☐ |  |
| Outlets functioning — spot check completed | ☐ | ☐ | ☐ |  |
| Main breaker inspected and switched ON | ☐ | ☐ | ☐ |  |
| Meter physically verified | ☐ | ☐ | ☐ |  |
| REHAB-SPECIFIC UTILITY VERIFICATION (mark N/A if new delivery) |  |  |  |  |
| Water physically verified ON at meter | ☐ | ☐ | ☐ |  |
| Power physically verified ON at meter | ☐ | ☐ | ☐ |  |
| Main breaker checked and confirmed ON | ☐ | ☐ | ☐ |  |
| JotForm submitted immediately if any utility is off or missing Do not delay — submit at time of discovery | ☐ | ☐ | ☐ |  |
| MECHANICAL & SAFETY |  |  |  |  |
| A/C operating properly — adequate cooling/heating observed; home at comfortable temperature | ☐ | ☐ | ☐ |  |
| No unusual HVAC noises or issues identified | ☐ | ☐ | ☐ |  |
| No roof leaks or water stains visible | ☐ | ☐ | ☐ |  |
| No evidence of insects, rodents, or active pest concerns | ☐ | ☐ | ☐ |  |
| Smoke detectors present and functional | ☐ | ☐ | ☐ |  |
| EXTERIOR & CURB APPEAL |  |  |  |  |
| Home appears level and properly set — visible from road | ☐ | ☐ | ☐ |  |
| Exterior siding clean, undamaged, and consistent in appearance | ☐ | ☐ | ☐ |  |
| Exterior doors clean, set/sealed, damage-free — hardware presentable | ☐ | ☐ | ☐ |  |
| GFI covers and hose bibbs in place and undamaged | ☐ | ☐ | ☐ |  |
| No exterior trash or debris — inside or outside lot | ☐ | ☐ | ☐ |  |
| Steps, porches, and skirting are safe, secure, and presentable | ☐ | ☐ | ☐ |  |
| Windows secure, intact, and clean — treatments aligned | ☐ | ☐ | ☐ |  |
| No off-putting odors upon arrival at entry | ☐ | ☐ | ☐ |  |
| ENTRY, WINDOWS & DOORS |  |  |  |  |
| All exterior doors open, close, and lock smoothly | ☐ | ☐ | ☐ |  |
| Screens and storm door installed and in good condition | ☐ | ☐ | ☐ |  |
| Keys organized and available for showing | ☐ | ☐ | ☐ |  |
| All interior doors open and close properly — hardware installed and presentable | ☐ | ☐ | ☐ |  |
| All windows operate properly — screens installed | ☐ | ☐ | ☐ |  |
| Blinds and window treatments functional and consistent throughout | ☐ | ☐ | ☐ |  |
| KITCHEN |  |  |  |  |
| Countertops clean, damage-free, and properly caulked | ☐ | ☐ | ☐ |  |
| Cabinets clean inside and out — no odors, stains, or damage | ☐ | ☐ | ☐ |  |
| Cabinet doors and drawers open and close properly | ☐ | ☐ | ☐ |  |
| Sink clean, functional, and properly sealed | ☐ | ☐ | ☐ |  |
| Faucets operate properly with good water pressure | ☐ | ☐ | ☐ |  |
| Refrigerator clean, level, and operating Verify ice maker line connected if applicable | ☐ | ☐ | ☐ |  |
| Range / oven clean — all burners and elements working | ☐ | ☐ | ☐ |  |
| Dishwasher clean — cycle runs and completes | ☐ | ☐ | ☐ |  |
| No odors from any appliance or cabinet | ☐ | ☐ | ☐ |  |
| BATHROOMS |  |  |  |  |
| Mirrors clean and undamaged | ☐ | ☐ | ☐ |  |
| Tubs and showers clean, caulked, and chip-free | ☐ | ☐ | ☐ |  |
| Toilets clean, not cracked or scratched, flushing properly | ☐ | ☐ | ☐ |  |
| Faucets and fixtures clean and operating properly | ☐ | ☐ | ☐ |  |
| Sinks clean and draining properly | ☐ | ☐ | ☐ |  |
| No odors — check under sink and around toilet base | ☐ | ☐ | ☐ |  |
| Bath fans operational | ☐ | ☐ | ☐ |  |
| INTERIOR PRESENTATION & LIVING SPACES |  |  |  |  |
| Floors clean throughout — no visible damage, debris, or stains | ☐ | ☐ | ☐ |  |
| Carpets vacuumed; vinyl flooring cleaned | ☐ | ☐ | ☐ |  |
| Wall panels undamaged — no cuts, blemishes, or visible repairs | ☐ | ☐ | ☐ |  |
| Ceilings clean throughout — no stains, cracks, or damage | ☐ | ☐ | ☐ |  |
| All light fixtures and can lights operational | ☐ | ☐ | ☐ |  |
| Light switches and outlet covers straight and clean | ☐ | ☐ | ☐ |  |
| Home is clean and neutral — no clutter, personal items, or leftover materials | ☐ | ☐ | ☐ |  |
| No odors anywhere in home — fresh throughout including closets | ☐ | ☐ | ☐ |  |
| CLEANLINESS — TURNOVER & SHOW STANDARD |  |  |  |  |
| Cabinet tops and all countertops spotless | ☐ | ☐ | ☐ |  |
| Cabinets wiped inside and out; shelves dusted | ☐ | ☐ | ☐ |  |
| Receptacles and light switches wiped down | ☐ | ☐ | ☐ |  |
| Drawers vacuumed; debris cleared from registers | ☐ | ☐ | ☐ |  |
| Doors and door knobs wiped down | ☐ | ☐ | ☐ |  |
| Sinks, bathroom mirrors, tubs, showers, and toilets cleaned | ☐ | ☐ | ☐ |  |
| All trash removed — inside and outside home | ☐ | ☐ | ☐ |  |
| Home smells fresh at every point — check closets, bathrooms, under sinks | ☐ | ☐ | ☐ |  |
| ESCALATION & FOLLOW-UP |  |  |  |  |
| No issues identified — home ready | ☐ | ☐ | ☐ |  |
| Issues identified — documented in Notes below | ☐ | ☐ | ☐ |  |
| Issue documented in Rent Manager with photos | ☐ | ☐ | ☐ |  |
| Regional Manager / Community Manager notified | ☐ | ☐ | ☐ |  |
| Vendor notified and work order submitted | ☐ | ☐ | ☐ |  |
| JotForm submitted if utilities are off | ☐ | ☐ | ☐ |  |
| Follow-up date scheduled and confirmed | ☐ | ☐ | ☐ |  |

| ☐ APPROVED — Ready for Listing / Showing All items Yes or N/A. Construction sign-off on file. | ☐ NOT READY — Items Outstanding Do not list or show until all items resolved and sign-offs received. |
| --- | --- |

Issue Description / Escalation Notes

I physically inspected this home and verified the items above. No assumptions were made regarding utility status or home readiness.

| Facility Manager — Utility & Condition Verification: ______________________________ | Date: ______________________________ |
| --- | --- |
| Community Manager / Sales Representative — Show-Readiness Sign-Off: ______________________________ | Date: ______________________________ |