Riverwalk

Visit notes  ·  August 2026 portfolio roadtrip

Gibsonton, FL   |   201 units   |   JREF II   |   Regional manager: Alex Pontes

17 items logged   ·   6 waiting on a decision   ·   1 working well

These are our notes from the visit, straight from the walk-through and the conversation on site. Nothing here is a directive yet. If something is already done, wrong, or you disagree with it, say so — that is more useful to us than a clean list. Reference numbers are in brackets so you can quote them back.

CAPITAL & INFRASTRUCTURE

Look at doing the driveways along with roads and curbs   [PF-0437]

CONSTRUCTION QUALITY & VENDORS

Multiple problems on new home stairs and doors: metal treads on wood, off-center doors, improper door swings, stair concrete not wide enough for the home, and some steps appearing to tip. No owner assigned. Needs a contractor or QA lead to audit and remediate against a punch list.   NEEDS A DECISION

Lock boxes are on some homes but not the two new ones; verify across all homes and install where missing.

Confirm the status of the window that was supposed to be removed and correct it.

INFILL, HOMES & SALES

Identify flood zone lots and move RVs around for infill   NEEDS A DECISION   [PF-0438]

Proposal to give RV owners 1.5 months to move to lots where construction is not permitted. Most RVs are believed to be on trucks-only lots and that needs confirmation, along with which lots can host RVs, before a relocation plan and timeline can be drafted.   NEEDS A DECISION

Hillsborough County home replacement program helps residents replace homes for a cost; the aim is to secure it for this community. No owner or next step assigned.   NEEDS A DECISION

CURB APPEAL & SITE STANDARDS

Is the fence ours?   NEEDS A DECISION   [PF-0439]

Mailbox covers   [PF-0440]

Some of the street signs look crooked   [PF-0441]

Matching fencing and a mailbox area improvement, possibly with a covering. The current setup lets carriers deliver without leaving their vehicles.

New street signs were praised. Brandon from Valdida and Fernando installed them.   WORKING WELL

SITE OPS, STAFFING & EQUIPMENT

Clear out the food   [TD-0168]

Cans trash service   [PF-0442]

Dumpsters proposed at the end of the street to keep them off the road, with concern that roll-offs would damage the pavement. No final decision.   NEEDS A DECISION

Thorough clear-out of old items needed, and crews should clean up before leaving each day.

A list of issues covering all lots was sent to John; confirm receipt and track follow-ups.

WHAT WE NEED BACK FROM YOU

Send corrections and status to your regional manager, Alex Pontes. Quote the reference number. Three things help most: what is already finished, what is wrong on this list, and what you would put first if you could only pick one.

Source: August 2026 portfolio roadtrip, site punch list and visit notes, Aug 17‑23, 2026. Compiled 2026-09-02.