Great Oak RV

Visit notes  ·  August 2026 portfolio roadtrip

Kissimmee, FL   |   231 units   |   JREF II   |   Regional manager: Liz Santiago

9 items logged   ·   3 needs attention now   ·   5 waiting on a decision

These are our notes from the visit, straight from the walk-through and the conversation on site. Nothing here is a directive yet. If something is already done, wrong, or you disagree with it, say so — that is more useful to us than a clean list. Reference numbers are in brackets so you can quote them back.

CAPITAL & INFRASTRUCTURE

Community is on a boil water notice with the aerator pump out; the system was described as wide open. Status of the vendor's return is unclear.   SAFETY   NEEDS A DECISION

Power cannot be brought to the intended area without rerouting electrical, which requires upgrades. No plan, budget or owner defined.   NEEDS A DECISION

Lift station to be walked and inspected.

CONSTRUCTION QUALITY & VENDORS

Past plan was porch-to-porch alignment rather than porch-to-rear; porches on the main street should face out. Flipping banks as they are replaced was suggested.   NEEDS A DECISION

CURB APPEAL & SITE STANDARDS

Bulletin board outside the office to be replaced and moved to the mailbox units, possibly mounted on the side like a wall, keeping mail carrier access clear and not blocking the community room entrance.

AMENITIES & COMMON AREAS

Clubhouse interior: grey oak vinyl tile proposed for the floor, drop ceiling noted, lamp post to be replaced. Purple was disliked and the pool area color considered the worst.

One party considers the current grill/hibachi setup a fire hazard and wants it removed. Proposal to redo the bocce area and relocate the grill nearby, keeping propane unless a gas line is available (a plumber would be needed to connect). A metal roof over the area was raised. No decision or timeline.   SAFETY   NEEDS A DECISION

A solar light turns on but never off because the sun does not reach it; residents ignore it. Evaluate placement or replace.

SITE OPS, STAFFING & EQUIPMENT

Storage area described as wide open, a potential security concern. One participant did not see it open; needs verification and mitigation.   SAFETY   NEEDS A DECISION

WHAT WE NEED BACK FROM YOU

Send corrections and status to your regional manager, Liz Santiago. Quote the reference number. Three things help most: what is already finished, what is wrong on this list, and what you would put first if you could only pick one.

Source: August 2026 portfolio roadtrip, site punch list and visit notes, Aug 17‑23, 2026. Compiled 2026-09-02.