## Maintenance Tools
PARAKEET COMMUNITIES
Maintenance Tools Standard · Average Market Pricing Reference
Pricing reflects mid-range commercial/professional grade tools (2025-2026 market avg). Adjust Qty column per property size. All costs are estimates - obtain quotes before purchasing.
Tool / Item | Avg. Unit Cost | Rec'd Qty | Est. Total | Notes / Use
ELECTRICAL TOOLS
Multimeter | 45 | 1 | 45 | Diagnose voltage, current, resistance
Non-contact voltage tester | 25 | 2 | 50 | Safe live-wire detection; keep 2 on hand
Electrical tester / receptacle tester | 20 | 1 | 20 | Outlet polarity & GFCI verification
Insulated screwdriver set | 40 | 1 | 40 | 1,000V rated; required for panel work
Standard screwdriver set | 30 | 1 | 30 | General use; flat & Phillips assorted
Wire strippers | 20 | 1 | 20 | 10-24 AWG range recommended
Wire cutters | 20 | 1 | 20 | Flush-cut for clean terminations
Needle-nose pliers | 18 | 1 | 18 | Tight-space wire routing
Channel-lock pliers | 30 | 1 | 30 | Conduit & fixture work
Electrical crimpers | 30 | 1 | 30 | Butt connectors & ring terminals
Electrical tape (pack of 10) | 12 | 1 | 12 | 600V vinyl; stock multiple colors
Wire nuts / connectors (assorted) | 12 | 1 | 12 | Keep assorted sizes stocked
Flashlight / headlamp | 35 | 2 | 70 | Hands-free preferred; panel & attic work
Circuit breaker finder | 55 | 1 | 55 | Transmitter + receiver set
Portable work light | 50 | 1 | 50 | LED flood; bright enough for panel rooms
Lockout/Tagout (LOTO) kit | 75 | 1 | 75 | Required per SOP 108 / OSHA 1910.147
ELECTRICAL TOOLS - Subtotal |  |  | 577
PLUMBING TOOLS
Pipe wrench set (10", 14", 18") | 65 | 1 | 65 | Heavy-duty cast iron; threaded pipe work
Adjustable wrench set | 50 | 1 | 50 | 6", 10", 12" combination set
Channel-lock pliers | 30 | 1 | 30 | Slip-joint; packing nut & valve work
PVC cutter | 35 | 1 | 35 | Ratcheting; clean cut up to 2" pipe
Hacksaw | 28 | 1 | 28 | Metal/CPVC; keep extra blades on hand
Strap wrench | 28 | 1 | 28 | No-scratch grip for chrome/plastic fittings
PVC primer and cement (kit) | 20 | 2 | 40 | Keep extra; expires - check dates
Teflon tape (pack of 5) | 8 | 2 | 16 | White for water, yellow for gas
Assorted fittings kit | 45 | 1 | 45 | PVC, CPVC, copper couplings & elbows
Pipe clamps (assorted) | 22 | 1 | 22 | Stainless screw clamps; 1/2" to 2"
Plumbing repair kits (assorted) | 35 | 2 | 70 | Fill valves, flappers, cartridges
Trash pump - extra hoses | 50 | 1 | 50 | 2" discharge & suction hose set
Submersible pump with water hose | 150 | 1 | 150 | 1/2 HP minimum; flood response
PLUMBING TOOLS - Subtotal |  |  | 629
LAWN CARE / GROUNDS
Commercial push mower | 600 | 1 | 600 | 21" deck; self-propelled; tight areas
Zero-turn mower | 4500 | 1 | 4500 | 48"-52" commercial deck; open areas
String trimmer (commercial) | 250 | 2 | 500 | 25-30cc; split shaft preferred
Backpack blower (commercial) | 400 | 2 | 800 | 50-65cc; curved tube & concentrator nozzle
Hedge trimmer | 200 | 1 | 200 | 24" blade; dual-action
Chainsaw | 300 | 1 | 300 | 16"-18" bar; safety gear required
Pole saw | 250 | 1 | 250 | 10" bar; 8-10 ft reach extension
Edger | 200 | 1 | 200 | Stick edger; keep blade sharp
Loppers | 45 | 1 | 45 | 30" bypass loppers; 1.5" cutting capacity
Rakes (leaf + landscape) | 30 | 2 | 60 | One leaf, one bow rake
Shovels (round point + flat) | 35 | 2 | 70 | One each; fiberglass handles
Post-hole digger | 75 | 1 | 75 | Manual clamshell; fencing & signage
Wheelbarrow | 120 | 1 | 120 | 6 cu ft; pneumatic tire
Hand tools set | 45 | 1 | 45 | Trowels, hand cultivator, weeder
Backpack sprayer | 75 | 1 | 75 | 4-gallon; herbicide & pest control use
Pressure washer | 450 | 1 | 450 | 3,000 PSI electric or gas; decks & walkways
Hoses (50 ft x 2) | 45 | 2 | 90 | Kink-resistant; garden grade minimum
Fuel cans (2.5 gal + 5 gal) | 25 | 2 | 50 | Separate labeled cans for gas & mixed fuel
Traffic cones / signage (set) | 75 | 1 | 75 | Minimum 6 cones + 2 caution signs
Trash bucket / debris hauler | 20 | 2 | 40 | 20-gal heavy-duty contractor buckets
Trash grabber / litter tool | 20 | 2 | 40 | 40" reach; spring-grip jaw
LAWN CARE / GROUNDS - Subtotal |  |  | 8585
ESSENTIAL GENERAL MAINTENANCE TOOLS
Complete socket set (SAE + metric) | 120 | 1 | 120 | 1/4", 3/8", 1/2" drives; 6-point preferred
Combination wrench set | 80 | 1 | 80 | 1/4" to 1" SAE + 8-19mm metric
Ratchets and extensions | 50 | 1 | 50 | 3", 6", 10" extensions; wobble type useful
Impact driver (cordless) | 150 | 1 | 150 | 18-20V; 1,750 in-lbs minimum
Impact wrench (cordless) | 200 | 1 | 200 | 1/2" drive; 250+ ft-lbs
Cordless drill / driver | 120 | 1 | 120 | 18-20V; brushless; includes drill bits
Cordless tool batteries / chargers | 80 | 2 | 160 | Match brand to existing tool inventory
Hammer (16 oz) | 30 | 2 | 60 | Fiberglass handle; finish & framing uses
Level (24" + 48") | 40 | 1 | 40 | Two levels - one each size
Tape measures (25 ft, 2-pack) | 30 | 1 | 30 | Auto-lock; wide blade stands alone
Pliers set | 50 | 1 | 50 | Lineman, slip-joint, needle-nose, diagonal
Allen / hex key set (SAE + metric) | 30 | 1 | 30 | Folding or T-handle; covers appliances
Sawzall / reciprocating saw | 150 | 1 | 150 | 15A corded or 20V cordless; drywall & pipe
Circular saw | 120 | 1 | 120 | 7-1/4" blade; framing & repair cuts
Angle grinder (4.5") | 90 | 1 | 90 | Grinding, cutting, wire wheel
Extension cords (25 ft + 50 ft) | 50 | 2 | 100 | 12 AWG minimum; 3-prong grounded
Tool bags / rolling toolbox | 100 | 1 | 100 | Heavy-duty canvas bag + rolling chest
Caution tape (roll, 1000 ft) | 15 | 2 | 30 | Yellow; stock extra for larger job sites
ESSENTIAL GENERAL MAINTENANCE TOOLS - Subtotal |  |  | 1680
TOTAL ESTIMATED INVESTMENT |  |  | 11471
Source: 2025-2026 market average pricing (Home Depot Pro, Grainger, Amazon Business). Adjust quantities per community size and existing inventory. Parakeet Communities - Property Management Standards ¦ Facilities & Maintenance