PARAKEET COMMUNITIES New Home Installation Checklist — CONSTRUCTION Technical sign-off: structural installation · mechanical systems · code compliance · pre-handoff quality control

Completed by: Director of Construction or designated inspector before home is handed to Operations. Every item must be marked Yes or N/A. Any No requires a written note and resolution before sign-off.

| Property / Community ______________________________ | Lot # ______________________________ | Home Model ______________________________ | S/N ______________________________ |
| --- | --- | --- | --- |

| City / State ______________________________ | Type of Setup: ☐ Piers ☐ Runners ☐ Full Slab ☐ Stem Wall ______________________________ | Inspected By ______________________________ | Date ______________________________ |
| --- | --- | --- | --- |

| Assessment Item | Yes | No | N/A | Notes / Observations |
| --- | --- | --- | --- | --- |
| ROOF — Structural Integrity & Installation |  |  |  |  |
| All shingles properly installed | ☐ | ☐ | ☐ |  |
| All debris removed from roof | ☐ | ☐ | ☐ |  |
| Ridge vent installed properly: peaked, nailed, and sealed | ☐ | ☐ | ☐ |  |
| Close-up felt not over tar tabs | ☐ | ☐ | ☐ |  |
| No exposed fasteners | ☐ | ☐ | ☐ |  |
| All shingles and vents are damage-free | ☐ | ☐ | ☐ |  |
| Eaves and fascia are straight | ☐ | ☐ | ☐ |  |
| Windbreaker holes are tarred | ☐ | ☐ | ☐ |  |
| Vents, boots, flues, and extensions are secured and sealed properly | ☐ | ☐ | ☐ |  |
| Shingle flashing properly installed | ☐ | ☐ | ☐ |  |
| UNDERNEATH HOME — Structure, Blocking & Mechanical Runs |  |  |  |  |
| Main beam, centerline, and perimeter are properly blocked | ☐ | ☐ | ☐ |  |
| Marriage line seal properly secured | ☐ | ☐ | ☐ |  |
| Wedges are tight | ☐ | ☐ | ☐ |  |
| A/C ducts properly suspended, attached, and installed | ☐ | ☐ | ☐ |  |
| Sewer crossovers connected and leak-free | ☐ | ☐ | ☐ |  |
| Sewer drain pipes properly sloped and fully installed | ☐ | ☐ | ☐ |  |
| Water crossovers connected and leak-free | ☐ | ☐ | ☐ |  |
| Bottom board is damage-free; any repairs taped and stapled | ☐ | ☐ | ☐ |  |
| Windows/ext/doors properly blocked | ☐ | ☐ | ☐ |  |
| Electrical crossovers connected | ☐ | ☐ | ☐ |  |
| Dryer vent installed and vented to outside | ☐ | ☐ | ☐ |  |
| Access board reinstalled after inspection | ☐ | ☐ | ☐ |  |
| EXTERIOR — Structural, Site Conditions & Transportation Damage Check |  |  |  |  |
| Close-up boards properly fastened | ☐ | ☐ | ☐ |  |
| Lap siding properly installed and damage-free | ☐ | ☐ | ☐ |  |
| Close-up exterior siding properly installed | ☐ | ☐ | ☐ |  |
| Exterior transportation damage-free | ☐ | ☐ | ☐ |  |
| GFI covers and hose bibbs are damage-free | ☐ | ☐ | ☐ |  |
| Concrete adjoins driveway and sidewalk(s) — proper parking access and home entry confirmed | ☐ | ☐ | ☐ |  |
| Concrete is free of visible damage or cracks | ☐ | ☐ | ☐ |  |
| Applicable landscape or hardscape package is complete per community standard Reference community spec sheet if applicable; note any open items | ☐ | ☐ | ☐ |  |
| HOME INTERIOR — Installation Quality |  |  |  |  |
| Mate line doors and baseboard installed | ☐ | ☐ | ☐ |  |
| Floors inspected for squeaks | ☐ | ☐ | ☐ |  |
| Loose trim secured | ☐ | ☐ | ☐ |  |
| Wall panels inspected for blemishes, cuts, and damage | ☐ | ☐ | ☐ |  |
| Ceilings inspected throughout home | ☐ | ☐ | ☐ |  |
| Countertops inspected for damage and caulking | ☐ | ☐ | ☐ |  |
| Self-edge inspected for damage and caulking | ☐ | ☐ | ☐ |  |
| Appliances unpacked, level, and inspected for damage | ☐ | ☐ | ☐ |  |
| All cabinetry — doors, drawers, and face frames — inspected, adjusted, and touched up as needed (putty, stain) | ☐ | ☐ | ☐ |  |
| Cabinet tops checked for protruding fasteners and cleanliness | ☐ | ☐ | ☐ |  |
| Shelves correct size and mounted properly to wall | ☐ | ☐ | ☐ |  |
| Fiberglass tub and showers inspected for chips or damage | ☐ | ☐ | ☐ |  |
| Caulk shower and tubs as needed | ☐ | ☐ | ☐ |  |
| Toilets and seats not cracked or scratched | ☐ | ☐ | ☐ |  |
| Toilet properly bolted to the floor | ☐ | ☐ | ☐ |  |
| Faucet fixtures and sinks are damage-free | ☐ | ☐ | ☐ |  |
| Faucet fixtures and sinks are properly installed | ☐ | ☐ | ☐ |  |
| Lavatory, shower, and hose bibb faucets function correctly | ☐ | ☐ | ☐ |  |
| Can lights inspected for securement | ☐ | ☐ | ☐ |  |
| Overhead ducts operating properly | ☐ | ☐ | ☐ |  |
| Ship-loose vinyl flooring installed across mate line | ☐ | ☐ | ☐ |  |
| Riser cavity properly connected and sealed | ☐ | ☐ | ☐ |  |
| WINDOWS & DOORS — Operation & Security |  |  |  |  |
| Interior doors operational, hardware properly installed | ☐ | ☐ | ☐ |  |
| Exterior doors operational, screens and storm door installed | ☐ | ☐ | ☐ |  |
| Locks and keys operational | ☐ | ☐ | ☐ |  |
| Windows operational, screens installed, blinds functional | ☐ | ☐ | ☐ |  |
| Interior doors squared with casing aligned | ☐ | ☐ | ☐ |  |
| Interior doors caulked and painted if needed | ☐ | ☐ | ☐ |  |
| ELECTRICAL CHECK |  |  |  |  |
| Switch plates and receptacles straight | ☐ | ☐ | ☐ |  |
| Panel box and breakers inspected | ☐ | ☐ | ☐ |  |
| GFI breakers operate properly | ☐ | ☐ | ☐ |  |
| All receptacles operate properly | ☐ | ☐ | ☐ |  |
| All light switches operate properly | ☐ | ☐ | ☐ |  |
| All can lights operate properly | ☐ | ☐ | ☐ |  |
| Kitchen appliances operational — refrigerator, range, and dishwasher each tested | ☐ | ☐ | ☐ |  |
| Water heater operating properly | ☐ | ☐ | ☐ |  |
| Smoke detectors tested and function properly — spacer removed | ☐ | ☐ | ☐ |  |
| All bath fans functional | ☐ | ☐ | ☐ |  |
| Whole-house vent fan functional | ☐ | ☐ | ☐ |  |
| PLUMBING CHECK |  |  |  |  |
| All water supply lines pressurized and confirmed leak-free at all visible connection points Open main shutoff; run all fixtures simultaneously and inspect every connection for drips or moisture | ☐ | ☐ | ☐ |  |
| All under-sink areas and tub/shower access panels inspected for moisture, drips, or active leaks — P-traps included Run each fixture 30 seconds; check beneath immediately | ☐ | ☐ | ☐ |  |
| All faucet aerators cleaned — removed, rinsed, and reinstalled at every sink | ☐ | ☐ | ☐ |  |
| All toilets adjusted and confirmed leak-free — seat secure, handle functional, tank fills and stops; flush each toilet and check base and tank connections | ☐ | ☐ | ☐ |  |
| Dishwasher run through a full cycle — no leaks at unit body or supply connection | ☐ | ☐ | ☐ |  |
| Ice maker line connected and confirmed leak-free Mark N/A if refrigerator has no ice maker | ☐ | ☐ | ☐ |  |
| All hose bibbs opened and closed — no leaks at valve or wall connection | ☐ | ☐ | ☐ |  |
| Water heater leak-free at inlet, outlet, and pressure relief valve; started per manufacturer instructions at 120°F | ☐ | ☐ | ☐ |  |
| Water heater compartment clean and free of debris | ☐ | ☐ | ☐ |  |
| All access doors confirmed operational and closed/latched after inspection | ☐ | ☐ | ☐ |  |
| Drain function confirmed — fill kitchen and all bathroom sinks simultaneously; no backup, gurgling, or slow drain within 60 seconds | ☐ | ☐ | ☐ |  |
| POST-CONSTRUCTION CLEANING |  |  |  |  |
| Construction has facilitated the hiring and scheduling of a vendor to complete post-construction cleaning before home is handed to Operations Cleaning vendor must be confirmed and scheduled prior to Construction sign-off | ☐ | ☐ | ☐ |  |

| ☐ APPROVED — All items confirmed All items Yes or N/A. No open items. | ☐ ITEMS REQUIRING ATTENTION See notes. Escalate to responsible party before proceeding. |
| --- | --- |

Items Requiring Attention — describe and note responsible party

| Director of Construction — Installation Sign-Off ______________________________ | Date: ______________________________ |
| --- | --- |

PARAKEET COMMUNITIES Home Readiness Checklist — OPERATIONS & SALES Utility verification · property condition · show-readiness · escalation ¦ Completed by: Facility Manager & Community Manager

Facility Manager completes Utilities, Mechanical, and Escalation sections. Community Manager / Sales Representative completes Exterior through Cleanliness sections before any showing or listing. Construction sign-off must be on file before this checklist is started. Physically verify every item — if it has not been checked, it is not confirmed.

| Property / Community ______________________________ | Home / Unit # ______________________________ | Completed By ______________________________ | Date ______________________________ |
| --- | --- | --- | --- |

| Home Type: ☐ New Delivery ☐ Rehab ☐ Turnover ______________________________ | Inspection Type: ☐ Weekly ☐ Pre-Listing ☐ Pre-Move-In ______________________________ | Construction Sign-Off on File? ☐ Yes ☐ No ______________________________ | ______________________________ |
| --- | --- | --- | --- |

| Assessment Item | Yes | No | N/A | Notes / Observations |
| --- | --- | --- | --- | --- |
| UTILITY VERIFICATION — Physically confirmed; no assumptions |  |  |  |  |
| Water service is active | ☐ | ☐ | ☐ |  |
| All faucets tested and flowing properly | ☐ | ☐ | ☐ |  |
| Toilets flushed and functioning | ☐ | ☐ | ☐ |  |
| No visible plumbing leaks anywhere in home | ☐ | ☐ | ☐ |  |
| No standing water present inside or outside | ☐ | ☐ | ☐ |  |
| Power service is active | ☐ | ☐ | ☐ |  |
| Interior lights tested and functioning throughout | ☐ | ☐ | ☐ |  |
| Outlets functioning — spot check completed | ☐ | ☐ | ☐ |  |
| Main breaker inspected and confirmed ON Rehab homes: physically confirm at the breaker panel that all breakers are in proper position | ☐ | ☐ | ☐ |  |
| Meter physically verified Rehab homes: confirm water and power are active at meter before entering home | ☐ | ☐ | ☐ |  |
| JotForm submitted immediately if any utility is off or missing Do not delay — submit at time of discovery regardless of home type | ☐ | ☐ | ☐ |  |
| MECHANICAL & SAFETY |  |  |  |  |
| A/C operating properly — adequate cooling/heating observed; home at comfortable temperature | ☐ | ☐ | ☐ |  |
| No unusual HVAC noises or issues identified | ☐ | ☐ | ☐ |  |
| No roof leaks or water stains visible | ☐ | ☐ | ☐ |  |
| No evidence of insects, rodents, or active pest concerns | ☐ | ☐ | ☐ |  |
| Smoke detectors present and functional | ☐ | ☐ | ☐ |  |
| EXTERIOR & CURB APPEAL |  |  |  |  |
| Home appears level and properly set — visible from road | ☐ | ☐ | ☐ |  |
| Exterior siding clean, undamaged, and consistent in appearance | ☐ | ☐ | ☐ |  |
| Exterior doors clean, set/sealed, damage-free — hardware presentable | ☐ | ☐ | ☐ |  |
| GFI covers and hose bibbs in place and undamaged | ☐ | ☐ | ☐ |  |
| No exterior trash or debris — inside or outside lot | ☐ | ☐ | ☐ |  |
| Steps, porches, and skirting are safe, secure, and presentable | ☐ | ☐ | ☐ |  |
| Windows secure, intact, and clean — treatments aligned | ☐ | ☐ | ☐ |  |
| No off-putting odors upon arrival at entry | ☐ | ☐ | ☐ |  |
| ENTRY, WINDOWS & DOORS |  |  |  |  |
| All exterior doors open, close, and lock smoothly | ☐ | ☐ | ☐ |  |
| Screens and storm door installed and in good condition | ☐ | ☐ | ☐ |  |
| Keys organized and available for showing | ☐ | ☐ | ☐ |  |
| All interior doors open and close properly — hardware installed and presentable | ☐ | ☐ | ☐ |  |
| All windows operate properly — screens installed | ☐ | ☐ | ☐ |  |
| Blinds and window treatments functional and consistent throughout | ☐ | ☐ | ☐ |  |
| KITCHEN |  |  |  |  |
| Countertops clean, damage-free, and properly caulked | ☐ | ☐ | ☐ |  |
| Cabinets clean inside and out — no odors, stains, or damage | ☐ | ☐ | ☐ |  |
| Cabinet doors and drawers open and close properly | ☐ | ☐ | ☐ |  |
| Sink clean, functional, and properly sealed | ☐ | ☐ | ☐ |  |
| Faucets operate properly with good water pressure | ☐ | ☐ | ☐ |  |
| Refrigerator clean, level, and operating Verify ice maker line connected if applicable | ☐ | ☐ | ☐ |  |
| Range / oven clean — all burners and elements working | ☐ | ☐ | ☐ |  |
| Dishwasher clean — cycle runs and completes | ☐ | ☐ | ☐ |  |
| No odors from any appliance or cabinet | ☐ | ☐ | ☐ |  |
| BATHROOMS |  |  |  |  |
| Mirrors clean and undamaged | ☐ | ☐ | ☐ |  |
| Tubs and showers clean, caulked, and chip-free | ☐ | ☐ | ☐ |  |
| Toilets clean, not cracked or scratched, flushing properly | ☐ | ☐ | ☐ |  |
| Faucets and fixtures clean and operating properly | ☐ | ☐ | ☐ |  |
| Sinks clean and draining properly | ☐ | ☐ | ☐ |  |
| No odors — check under sink and around toilet base | ☐ | ☐ | ☐ |  |
| Bath fans operational | ☐ | ☐ | ☐ |  |
| INTERIOR PRESENTATION & LIVING SPACES |  |  |  |  |
| Floors clean throughout — no visible damage, debris, or stains | ☐ | ☐ | ☐ |  |
| Carpets vacuumed; vinyl flooring cleaned | ☐ | ☐ | ☐ |  |
| Wall panels undamaged — no cuts, blemishes, or visible repairs | ☐ | ☐ | ☐ |  |
| Ceilings clean throughout — no stains, cracks, or damage | ☐ | ☐ | ☐ |  |
| All light fixtures and can lights operational | ☐ | ☐ | ☐ |  |
| Light switches and outlet covers straight and clean | ☐ | ☐ | ☐ |  |
| Home is clean and neutral — no clutter, personal items, or leftover materials | ☐ | ☐ | ☐ |  |
| No odors anywhere in home — fresh throughout including closets | ☐ | ☐ | ☐ |  |
| CLEANLINESS — TURNOVER & SHOW STANDARD |  |  |  |  |
| Receptacles, light switches, and door knobs wiped down throughout | ☐ | ☐ | ☐ |  |
| Drawers vacuumed; debris cleared from all registers and vents | ☐ | ☐ | ☐ |  |
| All trash removed — inside and outside home; lot is clear | ☐ | ☐ | ☐ |  |
| Home smells fresh throughout — verify closets, bathrooms, and under sinks | ☐ | ☐ | ☐ |  |
| ESCALATION & FOLLOW-UP |  |  |  |  |
| No issues identified — home ready | ☐ | ☐ | ☐ |  |
| Issues identified — documented in Notes below | ☐ | ☐ | ☐ |  |
| Issue documented in Rent Manager with photos | ☐ | ☐ | ☐ |  |
| Regional Manager / Community Manager notified | ☐ | ☐ | ☐ |  |
| Vendor notified and work order submitted | ☐ | ☐ | ☐ |  |
| JotForm submitted if utilities are off | ☐ | ☐ | ☐ |  |
| Follow-up date scheduled and confirmed | ☐ | ☐ | ☐ |  |

| ☐ APPROVED — Ready for Listing / Showing All items Yes or N/A. Construction sign-off on file. | ☐ NOT READY — Items Outstanding Do not list or show until all items resolved and sign-offs received. |
| --- | --- |

Issue Description / Escalation Notes

I physically inspected this home and verified the items above. No assumptions were made regarding utility status or home readiness.

| Facility Manager — Utility & Condition Verification: ______________________________ | Date: ______________________________ |
| --- | --- |
| Community Manager / Sales Representative — Show-Readiness Sign-Off: ______________________________ | Date: ______________________________ |